## Dropdowns (hidden)
Drop down lists (Internal, DO NOT MODIFY)
Ownership | Basis of materials classification | Field Verification Methods
Select Ownership Type | Previous Materials Evaluation | Customer self-identification
The entire service line is owned by the water system | Installation record (e.g., tap card) | CCTV investigation at curb stop - internal
The entire service line is owned by the customer | Installation date after lead ban | CCTV investigation at curb stop - external
Ownership is split, meaning that the system owns and portion and the customer owns a portion | Service line diameter is > 2 inches | Water quality sampling
Other | Service line repair or replacement record | Mechanical excavation at one location
| Predictive model | Mechanical excavation at multiple locations
| Water sampling only with no records | Visual inspection at the meter pit
| Field inspection only with no records | Other
Other
State review of customer notification of service line material
Select "Yes", "No", or "N/A"
Yes
No
N/A
Sensitive subpopulations
No
Yes - School
Yes - Day Care
Yes - Multifamily Home
Yes - Other

## PWS Information
PWS Information
Purpose of this worksheet: For water systems to document basic system information.
Facility Information
Water System Name:
McDermitt Water System
PWSID: | Population Served (number of people): | Number of Service Connections: | PWS Type:
NV0000162 | 200 | 116 | CWS NTNCWS
If you are a CWS, do multi-family residences comprise at least 20% of the structures you serve? |  |  | Select "Yes" or "No"
Mailing Address
Street or P.O. Box:
50 W. 5th Street
City or Town: |  | State: | Zip Code:
Winnemucca |  | NV | 89445
System Contact Person
Name: |  | Title:
Dan Ferraro |  | Public Works Director
Telephone: |  | Email:
775-623-6416 |  | publicworks@humboldtcountynv.gov
Person Who Prepared Inventory (if different from above)
Name: |  | Title/Affiliation:
Leland Miller |  | Water/Wastewater Operator
Telephone: |  | Email:
775-304-8136 |  | publicworks@humboldtcountynv.gov

## Inventory Methods
Inventory Methodology
PWS Name: McDermitt Water System
PWSID: NV0000162
Enter Date Last Updated:
Purpose of this worksheet: For water systems to document the methods and resources they used to develop and update their inventory.
Part 1: Historical Records Review
Type of Record | Describe the Records Reviewed for Your Inventory and Indicate Your Level of Confidence (e.g., Low, Medium, or High)
1. Construction Records and Plumbing Codes Examples: Local ordinance adopting an international plumbing code. Permits for replacing lead service lines.
2. Water System Records Examples: Capital improvement plans. Standard operating procedures. Engineering standards.
3. Distribution System Inspections and Records Examples: Distribution system maps. Tap cards. Service line repair/replacement records. Inspection records. Meter installation records. | We reviewed the maps of the system and then excavated along mainlines and service taps to confirm that the information provided by the maps were accurate. We have high confidence that our maps are updated and accurate after visual confirmation.
4. Other Records
Part 2: Identifying Service Line Material During Normal Operations
1. During which normal operating activities are you collecting information on service line material? Check all that apply.
Water meter reading | Water main repair or replacement
Water meter repair or replacement | Backflow prevention device inspection
Service line repair or replacement | Other
If "Other", please explain:
2. Did you develop or revise standard operating procedures to collect service line material information during normal operation? |  | Yes
If "Yes", please describe:
We developed a "white card" system for service line, main line, and repairs. The cards are used to detial the location, materials, date, and personel involved in every project in our system.
Part 3: Service Line Investigations
1. Identify the service line investigation methods your system used to prepare the inventory (check all that apply). If a water system chooses an investigation method not specified by the state under 40 CFR §141.84(a)(3)(iv), state approval is required. Note that investigations are not required by the LCRR but can be used by systems to assess accuracy of historical records and gather information when service line material is unknown.
Visual Inspection at the Meter Pit | Water Quality Sampling - Other
Customer Self-Identification | Mechanical Excavation
CCTV Inspection at Curb Box - External | Vacuum Excavation
CCTV Inspection at Curb Box - Internal | Predictive Modeling
Water Quality Sampling - Targeted | Other
Water Quality Sampling - Flushed
Water Quality sampling - Sequential
If "Other", please explain:
2. If "Predictive Modeling", please briefly describe the model and inputs used:
Break it down by blocks or streets that were installed around the same time.
3. How did you prioritize locations for service line materials investigations? For example, did you consider environmental justice and/or sensitive populations, did you use predictive modeling, and/or did you target areas with high number of unknowns?
We prioritized the oldest locations in our system and then moved towards the newer areas that had the lowest risk of lead but were still unknown. We also further investigated areas that did not match to our system maps.

## Detailed Inventory
Detailed Inventory
PWS Name: McDermitt Water System
PWSID: NV0000162
Date Last Updated:
Purpose of this worksheet: To provide a template for water systems to track materials for each service line in their distribution system. General Instructions: Each row in this worksheet represents one service line connecting the water main to the customer's plumbing. Columns with the aqua shading are required by the LCRR. Note that users can freeze panes to enable them to see the headings and notes when entering data. The worksheet includes examples in rows 10 - 12 and is formatted for approximately 10,000 entries.
Location Information |  |  | System-Owned Portion | [8 empty] | Customer-Owned Portion | [6 empty] | Entire Service Line Material Classification
Unique Service Line ID | Location Identifier |  | System-Owned Portion Service Line Material Classification | Was Material ever previously Lead? | Lead Connector Present? | Service Line Installation Date | Service Line Size (inches) | Basis of Material Classification | If Service Line Material Was Field Verified: |  | Notes | Customer-Owned Portion Service Line Material Classification | Service Line Installation Date | Service Line Size (inches) | Basis of Material Classification | If Service Line Material Was Field Verified: |  | Notes
| Street Address | Other Location Identifier | [6 empty] | Describe the Field Verification Method | Enter the Date of Field Verification | [5 empty] | Describe the Field Verification Method | Enter the Date of Field Verification
76564716 | 55 N US Hwy 95 | McDermitt Motel | Non-Lead (Plastic) | No | No | Unknown | 1 | Statistical Analysis/Predictive Modeling |  |  |  | Non-Lead (Plastic) | Unknown | 1 | Statistical Analysis/Predictive Modeling |  |  |  | Non-Lead
45389516 | 105 Pioneer Rd | Howard Huttman | Non-Lead (Plastic) | No | No | Unknown | 0.75 | Statistical Analysis/Predictive Modeling |  |  |  | Non-Lead (Plastic) | Unknown | 0.75 | Statistical Analysis/Predictive Modeling |  |  |  | Non-Lead
75067423 | 130 Pioneer Rd | Howard Huttman | Non-Lead (Plastic) | No | No | Unknown | 0.75 | Field Investigation | Mechanical Excavation | 2024-04-30 |  | Non-Lead (Plastic) | Unknown | 0.75 | Field Investigation | Mechanical Excavation | 2024-04-30 |  | Non-Lead
41723711 | 385 Pioneer Rd | Frank Albisu | Non-Lead (Plastic) | No | No | Unknown | 0.75 | Field Investigation | Mechanical Excavation | 2024-04-30 |  | Non-Lead (Plastic) | Unknown | 0.75 | Field Investigation | Mechanical Excavation | 2024-04-30 |  | Non-Lead
4651564 | 420 Pioneer Rd | Sean Dufurrena | Non-Lead (Plastic) | No | No | Unknown | 1 | Field Investigation | Mechanical Excavation | 2024-04-30 |  | Non-Lead (Plastic) | Unknown | 1 | Field Investigation | Mechanical Excavation | 2024-04-30 |  | Non-Lead
5384602 | 510 Pioneer Rd | Mardella Gallio | Non-Lead (Plastic) | No | No | Unknown | 1 | Statistical Analysis/Predictive Modeling |  |  |  | Non-Lead (Plastic) | Unknown | 1 | Statistical Analysis/Predictive Modeling |  |  |  | Non-Lead
75067379 | 535 Pioneer Rd | Chris & Pepi Bengoa | Non-Lead (Plastic) | No | No | Unknown | 1 | Field Investigation | Mechanical Excavation | 2024-04-30 |  | Non-Lead (Plastic) | Unknown | 1 | Field Investigation | Mechanical Excavation | 2024-04-30 |  | Non-Lead
8106872 | 0 Livestock Tank | Ty & Linda Albisu | Non-Lead (Plastic) | No | No | Unknown | 1 | Field Investigation | Mechanical Excavation | 2023-10-10 |  | Non-Lead (Plastic) | Unknown | 1 | Field Investigation | Mechanical Excavation | 2023-10-10 |  | Non-Lead
75067483 | 694 Lasa Dr | Criss Duncan | Non-Lead (Plastic) | No | No | Unknown | 0.75 | Field Investigation | Mechanical Excavation | 2024-04-30 |  | Non-Lead (Plastic) | Unknown | 0.75 | Field Investigation | Mechanical Excavation | 2024-04-30 |  | Non-Lead
5672901 | 705 Lasa Dr | National Gold Mining Corp | Non-Lead (Plastic) | No | No | Unknown | 1 | Field Investigation | Mechanical Excavation | 2024-04-30 |  | Non-Lead (Plastic) | Unknown | 1 | Field Investigation | Mechanical Excavation | 2024-04-30 |  | Non-Lead
75994186 | 650 Lasa Dr | Darlene Kemp | Non-Lead (Plastic) | No | No | Unknown | 0.75 | Field Investigation | Mechanical Excavation | 2024-04-30 |  | Non-Lead (Plastic) | Unknown | 0.75 | Field Investigation | Mechanical Excavation | 2024-04-30 |  | Non-Lead
75067377 | 465 Dora Ct | Paul Merkel | Non-Lead (Plastic) | No | No | Unknown | 0.75 | Field Investigation | Mechanical Excavation | 2024-05-01 |  | Non-Lead (Plastic) | Unknown | 0.75 | Field Investigation | Mechanical Excavation | 2024-05-01 |  | Non-Lead
75067409 | 455 Dora Ct | Gwenia Callao | Non-Lead (Plastic) | No | No | Unknown | 0.75 | Statistical Analysis/Predictive Modeling |  |  |  | Non-Lead (Plastic) | Unknown | 0.75 | Statistical Analysis/Predictive Modeling |  |  |  | Non-Lead
76835847 | 450 Dora Ct | William & Ferol Donalson | Non-Lead (Plastic) | No | No | Unknown | 0.75 | Field Investigation | Mechanical Excavation | 2024-05-01 |  | Non-Lead (Plastic) | Unknown | 0.75 | Field Investigation | Mechanical Excavation | 2024-05-01 |  | Non-Lead
75067452 | 460 Dora Ct | Daphne Smart | Non-Lead (Plastic) | No | No | Unknown | 0.75 | Statistical Analysis/Predictive Modeling |  |  |  | Non-Lead (Plastic) | Unknown | 0.75 | Statistical Analysis/Predictive Modeling |  |  |  | Non-Lead
75067485 | 585 Lasa Dr | Stepahine Carlisle | Non-Lead (Plastic) | No | No | Unknown | 0.75 | Field Investigation | Mechanical Excavation | 2024-05-01 |  | Non-Lead (Plastic) | Unknown | 0.75 | Field Investigation | Mechanical Excavation | 2024-05-01 |  | Non-Lead
75994172 | 575 Lasa Dr | Stephen & Gillian Bruce | Non-Lead (Plastic) | No | No | Unknown | 0.75 | Statistical Analysis/Predictive Modeling |  |  |  | Non-Lead (Plastic) | Unknown | 0.75 | Statistical Analysis/Predictive Modeling |  |  |  | Non-Lead
42133594 | 610 Lasa Dr | Bruce Easterday | Non-Lead (Plastic) | No | No | Unknown | 0.75 | Field Investigation | Mechanical Excavation | 2024-05-01 |  | Non-Lead (Plastic) | Unknown | 0.75 | Field Investigation | Mechanical Excavation | 2024-05-01 |  | Non-Lead
13257141 | 600 Barnes Rd | Marion Gibson | Non-Lead (Plastic) | No | No | Unknown | 0.75 | Statistical Analysis/Predictive Modeling |  |  |  | Non-Lead (Plastic) | Unknown | 0.75 | Statistical Analysis/Predictive Modeling |  |  |  | Non-Lead
71169362 | 560 Lasa Dr | Patricia Wishon | Non-Lead (Plastic) | No | No | Unknown | 0.75 | Field Investigation | Mechanical Excavation | 2024-05-01 |  | Non-Lead (Plastic) | Unknown | 0.75 | Field Investigation | Mechanical Excavation | 2024-05-01 |  | Non-Lead
45389514 | 560-1 Lasa Dr | Idle Address/Patricia Wishon | Non-Lead (Plastic) | No | No | Unknown | 0.75 | Statistical Analysis/Predictive Modeling |  |  |  | Non-Lead (Plastic) | Unknown | 0.75 | Statistical Analysis/Predictive Modeling |  |  |  | Non-Lead
41602023 | 485 Doris Ct | Hitech Minerals | Non-Lead (Plastic) | No | No | Unknown | 0.75 | Field Investigation | Mechanical Excavation |  |  | Non-Lead (Plastic) | Unknown | 0.75 | Field Investigation | Mechanical Excavation |  |  | Non-Lead
75067389 | 490 Doris Ct | Judith King | Non-Lead (Plastic) | No | No | Unknown | 0.75 | Statistical Analysis/Predictive Modeling |  |  |  | Non-Lead (Plastic) | Unknown | 0.75 | Statistical Analysis/Predictive Modeling |  |  |  | Non-Lead
6847367 | 465 Doris Ct | Jerry Franklin | Non-Lead (Plastic) | No | No | Unknown | 0.75 | Statistical Analysis/Predictive Modeling |  |  |  | Non-Lead (Plastic) | Unknown | 0.75 | Statistical Analysis/Predictive Modeling |  |  |  | Non-Lead
75067387 | 555 Humboldt St | Steven & Jane Johnson | Non-Lead (Plastic) | No | No | Unknown | 0.75 | Field Investigation | Mechanical Excavation | 2024-05-01 |  | Non-Lead (Plastic) | Unknown | 0.75 | Field Investigation | Mechanical Excavation | 2024-05-01 |  | Non-Lead
75067419 | 535 Humboldt St | Marcus & Tamara Barnett | Non-Lead (Plastic) | No | No | Unknown | 0.75 | Statistical Analysis/Predictive Modeling |  |  |  | Non-Lead (Plastic) | Unknown | 0.75 | Statistical Analysis/Predictive Modeling |  |  |  | Non-Lead
13613550 | 490 Lasa Dr | Loren Swindler | Non-Lead (Plastic) | No | No | Unknown | 0.75 | Statistical Analysis/Predictive Modeling |  |  |  | Non-Lead (Plastic) | Unknown | 0.75 | Statistical Analysis/Predictive Modeling |  |  |  | Non-Lead
6847370 | 465 Lasa Dr | Joe & Dolores O'Neill | Non-Lead (Plastic) | No | No | Unknown | 0.75 | Statistical Analysis/Predictive Modeling |  |  |  | Non-Lead (Plastic) | Unknown | 0.75 | Statistical Analysis/Predictive Modeling |  |  |  | Non-Lead
77777777 | 390 Lasa Dr | Joe & Dolores O'Neal | Non-Lead (Plastic) | No | No | Unknown | 1 | Field Investigation | Mechanical Excavation | 2024-05-01 |  | Non-Lead (Plastic) | Unknown | 1 | Field Investigation | Mechanical Excavation | 2024-05-01 |  | Non-Lead
4647132 | 540 Caragana Rd | Bruce Easterday | Non-Lead (Plastic) | No | No | Unknown | 1 | Field Investigation | Visual Inspection at Meter Pit | 2024-05-01 |  | Non-Lead (Plastic) | Unknown | 1 | Field Investigation | Visual Inspection at Meter Pit | 2024-05-01 |  | Non-Lead
13042469 | 355 Lasa Dr | Buck Biggs | Non-Lead (Plastic) | No | No | Unknown | 1 | Statistical Analysis/Predictive Modeling |  |  |  | Non-Lead (Plastic) | Unknown | 1 | Statistical Analysis/Predictive Modeling |  |  |  | Non-Lead
75067480 | 220 Lasa Dr | Kap Ugalde | Non-Lead (Plastic) | No | No | Unknown | 1 | Statistical Analysis/Predictive Modeling |  |  |  | Non-Lead (Plastic) | Unknown | 1 | Statistical Analysis/Predictive Modeling |  |  |  | Non-Lead
30024926 | 230 Lasa Dr | Dorothea Souza | Non-Lead (Plastic) | No | No | Unknown | 1 | Statistical Analysis/Predictive Modeling |  |  |  | Non-Lead (Plastic) | Unknown | 1 | Statistical Analysis/Predictive Modeling |  |  |  | Non-Lead
8597032 | 0 Lasa Dr | Terrah Hern | Non-Lead (Plastic) | No | No | Unknown | 1 | Statistical Analysis/Predictive Modeling |  |  |  | Non-Lead (Plastic) | Unknown | 1 | Statistical Analysis/Predictive Modeling |  |  |  | Non-Lead
4781998 | 495 Jaca | Howard Huttman | Non-Lead (Other) | No | No | Unknown | 1 | Statistical Analysis/Predictive Modeling |  |  |  | Non-Lead (Other) | Unknown | 1 | Statistical Analysis/Predictive Modeling |  |  |  | Non-Lead
13019294 | 375 Jaca Dr | Ken Elordi | Non-Lead (Other) | No | No | Unknown | 1 | Statistical Analysis/Predictive Modeling |  |  |  | Non-Lead (Other) | Unknown | 1 | Statistical Analysis/Predictive Modeling |  |  |  | Non-Lead
42133998 | 355 Jaca Dr | Bettina Giselle Alvarez | Non-Lead (Plastic) | No | No | Unknown | 0.75 | Field Investigation | Mechanical Excavation | 2024-05-02 |  | Non-Lead (Plastic) | Unknown | 0.75 | Field Investigation | Mechanical Excavation | 2025-05-02 |  | Non-Lead
4777491 | 335 Jaca Dr | Dennis Duba | Non-Lead (Plastic) | No | No | Unknown | 0.75 | Field Investigation | Mechanical Excavation | 2024-05-02 |  | Non-Lead (Plastic) | Unknown | 0.75 | Field Investigation | Mechanical Excavation | 2025-05-02 |  | Non-Lead
17223714 | 350 Jaca Dr | Dale & Michelle Hartley | Non-Lead (Other) | No | No | Unknown | 0.75 | Field Investigation | Mechanical Excavation | 2024-05-02 |  | Non-Lead (Other) | Unknown | 0.75 | Field Investigation | Mechanical Excavation | 2024-05-02 |  | Non-Lead
25076092 | 325 Jaca Dr | Mary Homer | Non-Lead (Other) | No | No | Unknown | 0.75 | Field Investigation | Mechanical Excavation | 2024-05-02 |  | Non-Lead (Other) | Unknown | 0.75 | Field Investigation | Mechanical Excavation | 2024-05-02 |  | Non-Lead
44454400 | 305 Jaca Dr | Harry Ranch LLC | Non-Lead (Other) | No | No | Unknown | 0.75 | Statistical Analysis/Predictive Modeling |  |  |  | Non-Lead (Other) | Unknown | 0.75 | Statistical Analysis/Predictive Modeling |  |  |  | Non-Lead
12284139 | 285 Jaca Dr | Toshina Baldwin | Non-Lead (Other) | No | No | Unknown | 0.75 | Field Investigation | Mechanical Excavation |  |  | Non-Lead (Other) | Unknown | 0.75 | Field Investigation | Mechanical Excavation |  |  | Non-Lead
13107436 | 275 Jaca Dr | Sharon Baldwin | Non-Lead (Other) | No | No | Unknown | 0.75 | Statistical Analysis/Predictive Modeling |  |  |  | Non-Lead (Other) | Unknown | 0.75 | Statistical Analysis/Predictive Modeling |  |  |  | Non-Lead
4800322 | 340 Jaca Dr | Juan Callao | Non-Lead (Other) | No | No | Unknown | 0.75 | Statistical Analysis/Predictive Modeling |  |  |  | Non-Lead (Other) | Unknown | 0.75 | Statistical Analysis/Predictive Modeling |  |  |  | Non-Lead
75312884 | 195 N US Hwy 95 | Quinn River Merc | Non-Lead (Other) | No | No | Unknown | 0.75 | Statistical Analysis/Predictive Modeling |  |  |  | Non-Lead (Other) | Unknown | 0.75 | Statistical Analysis/Predictive Modeling |  |  |  | Non-Lead
384601 | 215 Reeves Rd | Misty Houghton | Non-Lead (Plastic) | No | No | Unknown | 0.75 | Field Investigation | Mechanical Excavation | 2024-04-26 |  | Non-Lead (Plastic) | Unknown | 0.75 | Field Investigation | Mechanical Excavation | 2024-04-26 |  | Non-Lead
44454501 | 165 Reeves Rd | Bret Dowty | Non-Lead (Plastic) | No | No | Unknown | 0.75 | Field Investigation | Mechanical Excavation | 2024-04-26 |  | Non-Lead (Plastic) | Unknown | 0.75 | Field Investigation | Mechanical Excavation | 2024-04-26 |  | Non-Lead
23152917 | 145 Reeves Rd | Bradley Crutcher | Non-Lead (Plastic) | No | No | Unknown | 0.75 | Field Investigation | Mechanical Excavation | 2024-04-26 |  | Non-Lead (Plastic) | Unknown | 0.75 | Field Investigation | Mechanical Excavation | 2024-04-26 |  | Non-Lead
75312880 | 125 Reeves Rd | Michael & Katrina Conner | Non-Lead (Plastic) | No | No | Unknown | 0.75 | Field Investigation | Mechanical Excavation | 2024-04-26 |  | Non-Lead (Plastic) | Unknown | 0.75 | Field Investigation | Mechanical Excavation | 2024-04-26 |  | Non-Lead
5396714 | 105 Reeves Rd | Brian Gauther | Non-Lead (Plastic) | No | No | Unknown | 0.75 | Field Investigation | Mechanical Excavation | 2024-04-25 |  | Non-Lead (Plastic) | Unknown | 0.75 | Field Investigation | Mechanical Excavation | 2024-04-25 |  | Non-Lead
67916738 | 105 Buckskin St | Richard Egan | Non-Lead (Plastic) | No | No | Unknown | 0.75 | Field Investigation | Mechanical Excavation | 2024-04-23 |  | Non-Lead (Plastic) | Unknown | 0.75 | Field Investigation | Mechanical Excavation | 2024-04-23 |  | Non-Lead
52163690 | 110 Reeves Rd | William & Jacinda Ashby | Non-Lead (Plastic) | No | No | Unknown | 0.75 | Field Investigation | Mechanical Excavation | 2024-04-23 |  | Non-Lead (Plastic) | Unknown | 0.75 | Field Investigation | Mechanical Excavation | 2024-04-23 |  | Non-Lead
4647131 | 125 Buckskin St | Patricia Albisu | Non-Lead (Plastic) | No | No | Unknown | 0.75 | Field Investigation | Mechanical Excavation | 2024-04-23 |  | Non-Lead (Plastic) | Unknown | 0.75 | Field Investigation | Mechanical Excavation | 2024-04-23 |  | Non-Lead
45389517 | 130 Reeves Rd | Carolina Losoya | Non-Lead (Plastic) | No | No | Unknown | 0.75 | Field Investigation | Mechanical Excavation | 2024-04-23 |  | Non-Lead (Plastic) | Unknown | 0.75 | Field Investigation | Mechanical Excavation | 2024-04-23 |  | Non-Lead
75994196 | 150 Reeves Rd | Dennis & Margo Price | Non-Lead (Plastic) | No | No | Unknown | 0.75 | Statistical Analysis/Predictive Modeling |  |  |  | Non-Lead (Plastic) | Unknown | 0.75 | Statistical Analysis/Predictive Modeling |  |  |  | Non-Lead
75994198 | 165 Buckskin St | Charles Mashburn | Non-Lead (Plastic) | No | No | Unknown | 0.75 | Field Investigation | Mechanical Excavation | 2024-04-24 |  | Non-Lead (Plastic) | Unknown | 0.75 | Field Investigation | Mechanical Excavation | 2024-04-24 |  | Non-Lead
13257560 | 170 Reeves Rd | Barbara Pope | Non-Lead (Plastic) | No | No | Unknown | 0.75 | Statistical Analysis/Predictive Modeling |  |  |  | Non-Lead (Plastic) | Unknown | 0.75 | Statistical Analysis/Predictive Modeling |  |  |  | Non-Lead
29285147 | 190 Reeves Rd | Joe Naughton | Non-Lead (Copper) | No | No | Unknown | 0.75 | Field Investigation | Mechanical Excavation | 2024-04-25 |  | Non-Lead (Copper) | Unknown | 0.75 | Field Investigation | Mechanical Excavation | 2024-04-25 |  | Non-Lead
75064784 | 205 Buckskin St | Barbara Ferguson | Non-Lead (Plastic) | No | No | Unknown | 0.75 | Field Investigation | Mechanical Excavation | 2024-04-25 |  | Non-Lead (Plastic) | Unknown | 0.75 | Field Investigation | Mechanical Excavation | 2024-04-25 |  | Non-Lead
75067499 | 220 Reeves Rd | Cindy Larochelle | Non-Lead (Plastic) | No | No | Unknown | 0.75 | Field Investigation | Mechanical Excavation | 2024-04-25 |  | Non-Lead (Plastic) | Unknown | 0.75 | Field Investigation | Mechanical Excavation | 2024-04-25 |  | Non-Lead
4781997 | 195 Jaca | St Paul Real Property | Non-Lead (Plastic) | No | No | Unknown | 0.75 | Statistical Analysis/Predictive Modeling |  |  |  | Non-Lead (Plastic) | Unknown | 0.75 | Statistical Analysis/Predictive Modeling |  |  |  | Non-Lead
5384603 | 125-1 Olavarria St | Josephine Reeves | Non-Lead (Plastic) | No | No | Unknown | 0.75 | Statistical Analysis/Predictive Modeling |  |  |  | Non-Lead (Plastic) | Unknown | 0.75 | Statistical Analysis/Predictive Modeling |  |  |  | Non-Lead
45389515 | 125 Olavarria St | Josephine Reeves | Non-Lead (Plastic) | No | No | Unknown | 0.75 | Statistical Analysis/Predictive Modeling |  |  |  | Non-Lead (Plastic) | Unknown | 0.75 | Statistical Analysis/Predictive Modeling |  |  |  | Non-Lead
4651565 | 120 Olavarria St | 55 McDermitt LLC | Non-Lead (Plastic) | No | No | Unknown | 0.75 | Statistical Analysis/Predictive Modeling |  |  |  | Non-Lead (Plastic) | Unknown | 0.75 | Statistical Analysis/Predictive Modeling |  |  |  | Non-Lead
386400 | 95 Olavarria St | Josephine Reeves | Non-Lead (Plastic) | No | No | Unknown | 0.75 | Statistical Analysis/Predictive Modeling |  |  |  | Non-Lead (Plastic) | Unknown | 0.75 | Statistical Analysis/Predictive Modeling |  |  |  | Non-Lead
91769387 | 100 Olavarria St | School District | Non-Lead (Plastic) | No | No | Unknown | 0.75 | Statistical Analysis/Predictive Modeling |  |  |  | Non-Lead (Plastic) | Unknown | 0.75 | Statistical Analysis/Predictive Modeling |  |  |  | Non-Lead
67524333 | 100-1 Olavarria St | School District | Non-Lead (Plastic) | No | No | Unknown | 2 | Field Investigation | Visual Inspection at Meter Pit | 2024-04-24 |  | Non-Lead (Plastic) | Unknown | 2 | Field Investigation | Visual Inspection at Meter Pit | 2024-04-24 |  | Non-Lead
17012286 | 100-2 Olavarria St | School District | Non-Lead (Plastic) | No | No | Unknown | 0.75 | Field Investigation | Visual Inspection at Meter Pit | 2024-04-24 |  | Non-Lead (Plastic) | Unknown | 0.75 | Field Investigation | Visual Inspection at Meter Pit | 2024-04-24 |  | Non-Lead
17083616 | 10 Olavarria St | Hyland Wilkinson | Non-Lead (Plastic) | No | No | Unknown | 0.75 | Statistical Analysis/Predictive Modeling |  |  |  | Non-Lead (Plastic) | Unknown | 0.75 | Statistical Analysis/Predictive Modeling |  |  |  | Non-Lead
6672920 | 4106 E Stateline Dr | BLM | Non-Lead (Plastic) | No | No | Unknown | 0.75 | Statistical Analysis/Predictive Modeling |  |  |  | Non-Lead (Plastic) | Unknown | 0.75 | Statistical Analysis/Predictive Modeling |  |  |  | Non-Lead
75067391 | 4112 E Stateline Dr | Cheryl Mitchell | Non-Lead (Plastic) | No | No | Unknown | 0.75 | Field Investigation | Mechanical Excavation | 2024-05-03 |  | Non-Lead (Plastic) | Unknown | 0.75 | Field Investigation | Mechanical Excavation | 2024-05-03 |  | Non-Lead
7134532 | 4112-1 E Stateline Dr | Mitchells Stateline RV Park | Non-Lead (Plastic) | No | No | Unknown | 0.75 | Field Investigation | Mechanical Excavation | 2024-05-03 |  | Non-Lead (Plastic) | Unknown | 0.75 | Field Investigation | Mechanical Excavation | 2024-05-03 |  | Non-Lead
17174308 | 4136 E Stateline Dr | Ken Elordi | Non-Lead (Plastic) | No | No | Unknown | 0.75 | Statistical Analysis/Predictive Modeling |  |  |  | Non-Lead (Plastic) | Unknown | 0.75 | Statistical Analysis/Predictive Modeling |  |  |  | Non-Lead
17083619 | 80 E Stateline | Hyland Wilkinson | Non-Lead (Plastic) | No | No | Unknown | 0.75 | Statistical Analysis/Predictive Modeling |  |  |  | Non-Lead (Plastic) | Unknown | 0.75 | Statistical Analysis/Predictive Modeling |  |  |  | Non-Lead
44454497 | 60 E Stateline Dr | Dawn Davis | Non-Lead (Plastic) | No | No | Unknown | 0.75 | Field Investigation | Mechanical Excavation | 2024-05-03 |  | Non-Lead (Plastic) | Unknown | 0.75 | Field Investigation | Mechanical Excavation | 2024-05-03 |  | Non-Lead
27128521 | 4134 E Stateline Dr | Marlene Fettic | Non-Lead (Plastic) | No | No | Unknown | 0.75 | Statistical Analysis/Predictive Modeling |  |  |  | Non-Lead (Plastic) | Unknown | 0.75 | Statistical Analysis/Predictive Modeling |  |  |  | Non-Lead
13042468 | 1 N US Hwy 95 | Randee Butolph | Non-Lead (Plastic) | No | No | Unknown | 0.75 | Statistical Analysis/Predictive Modeling |  |  |  | Non-Lead (Plastic) | Unknown | 0.75 | Statistical Analysis/Predictive Modeling |  |  |  | Non-Lead
42480695 | 0 Cordero Rd | Say When Casino | Non-Lead (Plastic) | No | No | Unknown | 0.75 | Statistical Analysis/Predictive Modeling |  |  |  | Non-Lead (Plastic) | Unknown | 0.75 | Statistical Analysis/Predictive Modeling |  |  |  | Non-Lead
42133595 | 90 Cordero Rd | Todd Murrah | Non-Lead (Plastic) | No | No | Unknown | 0.75 | Statistical Analysis/Predictive Modeling |  |  |  | Non-Lead (Plastic) | Unknown | 0.75 | Statistical Analysis/Predictive Modeling |  |  |  | Non-Lead
28881685 | 120 Cordero Rd | Jade House Managed Care | Non-Lead (Plastic) | No | No | Unknown | 0.75 | Field Investigation | Mechanical Excavation | 2024-05-03 |  | Non-Lead (Plastic) | Unknown | 0.75 | Field Investigation | Mechanical Excavation | 2024-05-03 |  | Non-Lead
13042765 | 150 Cordero Rd | Howard Huttman | Non-Lead (Plastic) | No | No | Unknown | 0.75 | Statistical Analysis/Predictive Modeling |  |  |  | Non-Lead (Plastic) | Unknown | 0.75 | Statistical Analysis/Predictive Modeling |  |  |  | Non-Lead
4651561 | 160 Cordero Rd | Howard Huttman | Non-Lead (Plastic) | No | No | Unknown | 0.75 | Statistical Analysis/Predictive Modeling |  |  |  | Non-Lead (Plastic) | Unknown | 0.75 | Statistical Analysis/Predictive Modeling |  |  |  | Non-Lead
41602022 | 192 Cordero Rd | Ray Crawford | Non-Lead (Plastic) | No | No | Unknown | 2 | Field Investigation | Mechanical Excavation | 2024-05-03 |  | Non-Lead (Plastic) | Unknown | 2 | Field Investigation | Mechanical Excavation | 2024-05-03 |  | Non-Lead
12537166 |  | Airport | Non-Lead (Other) | No | No | Unknown |  | Other |  |  | this is a meter for a fire hydrant | Non-Lead (Other) | Unknown |  | Other |  |  |  | Non-Lead
17761345 | 65 Cordero Rd | Joe Vaneeten | Non-Lead (Plastic) | No | No | Unknown | 0.75 | Statistical Analysis/Predictive Modeling |  |  |  | Non-Lead (Plastic) | Unknown | 0.75 | Statistical Analysis/Predictive Modeling |  |  |  | Non-Lead
17470575 | 105 Cordero | Joe Vaneeten/White Horse | Non-Lead (Plastic) | No | No | Unknown | 0.75 | Statistical Analysis/Predictive Modeling |  |  |  | Non-Lead (Plastic) | Unknown | 0.75 | Statistical Analysis/Predictive Modeling |  |  |  | Non-Lead
20883762 | 9714 N Margarita St | Ty & Linda Albisu | Non-Lead (Plastic) | No | No | Unknown | 0.75 | Statistical Analysis/Predictive Modeling |  |  |  | Non-Lead (Plastic) | Unknown | 0.75 | Statistical Analysis/Predictive Modeling |  |  |  | Non-Lead
1275134 | 9708 N Margarita St | Robert Grubaugh | Non-Lead (Plastic) | No | No | Unknown | 0.75 | Field Investigation | Mechanical Excavation |  | leak repair | Non-Lead (Plastic) | Unknown | 0.75 | Field Investigation | Mechanical Excavation |  |  | Non-Lead
4647135 | 9707 N Margarita St | Larry Heward | Non-Lead (Plastic) | No | No | Unknown | 0.75 | Statistical Analysis/Predictive Modeling |  |  |  | Non-Lead (Plastic) | Unknown | 0.75 | Statistical Analysis/Predictive Modeling |  |  |  | Non-Lead
3226232 | 9704 N Margarita St | Howard Huttman | Non-Lead (Plastic) | No | No | Unknown | 0.75 | Statistical Analysis/Predictive Modeling |  |  |  | Non-Lead (Plastic) | Unknown | 0.75 | Statistical Analysis/Predictive Modeling |  |  |  | Non-Lead
16789975 | 9707 N US Hwy 95 #OR | Jeff Hassell | Non-Lead (Plastic) | No | No | Unknown | 0.75 | Field Investigation | Visual Inspection at Meter Pit |  |  | Non-Lead (Plastic) | Unknown | 0.75 | Field Investigation | Visual Inspection at Meter Pit |  |  | Non-Lead
38837173 | 10 Margarita St | AB & Rosalyn Beck | Non-Lead (Plastic) | No | No | Unknown | 0.75 | Statistical Analysis/Predictive Modeling |  |  |  | Non-Lead (Plastic) | Unknown | 0.75 | Statistical Analysis/Predictive Modeling |  |  |  | Non-Lead
7134535 | 0 McDermitt Rd | Howard Huttman | Non-Lead (Plastic) | No | No | Unknown | 0.75 | Statistical Analysis/Predictive Modeling |  |  |  | Non-Lead (Plastic) | Unknown | 0.75 | Statistical Analysis/Predictive Modeling |  |  |  | Non-Lead
18038844 | 4170 McDermitt Rd | Dave Elordi | Non-Lead (Other) | No | No | Unknown | 0.75 | Field Investigation | Mechanical Excavation | 2024-05-03 |  | Non-Lead (Other) | Unknown | 0.75 | Field Investigation | Mechanical Excavation | 2024-05-03 |  | Non-Lead
4647130 | 9689 N US Hwy 95 | Cheryl Mitchell | Non-Lead (Plastic) | No | No | Unknown | 0.75 | Statistical Analysis/Predictive Modeling |  |  |  | Non-Lead (Plastic) | Unknown | 0.75 | Statistical Analysis/Predictive Modeling |  |  |  | Non-Lead
17881598 | 130 N US Hwy 95 | Illyssa Fogel | Non-Lead (Copper) | No | No | Unknown | 0.75 | Field Investigation | Mechanical Excavation |  | removed from service | Non-Lead (Copper) | Unknown | 0.75 | Field Investigation | Mechanical Excavation |  | removed from service | Non-Lead
11491773 | 140 N US Hwy 95 | Diamond A Motel | Non-Lead (Copper) | No | No | Unknown | 1 | Field Investigation | Mechanical Excavation |  | removed from service | Non-Lead (Copper) | Unknown | 1 | Field Investigation | Mechanical Excavation |  | removed from service | Non-Lead
190558929 | 9707 N US Hwy 95 | Mark Markem | Non-Lead (Plastic) | No | No | Unknown | 0.75 | Statistical Analysis/Predictive Modeling |  |  |  | Non-Lead (Plastic) | Unknown | 0.75 | Statistical Analysis/Predictive Modeling |  |  |  | Non-Lead
75967420 | 135 Jaca Dr | SWK McDermitt LLC | Non-Lead (Plastic) | No | No | Unknown | 0.75 | Statistical Analysis/Predictive Modeling |  |  |  | Non-Lead (Plastic) | Unknown | 0.75 | Statistical Analysis/Predictive Modeling |  |  |  | Non-Lead
75067830 | 0 Pioneer | McDermitt Motel | Non-Lead (Plastic) | No | No | Unknown | 1 | Statistical Analysis/Predictive Modeling |  |  |  | Non-Lead (Plastic) | Unknown | 1 | Statistical Analysis/Predictive Modeling |  |  |  | Non-Lead
886051863 | 170 Jaca Dr | Library | Non-Lead (Plastic) | No | No | Unknown | 0.75 | Statistical Analysis/Predictive Modeling |  |  |  | Non-Lead (Plastic) | Unknown | 0.75 | Statistical Analysis/Predictive Modeling |  |  |  | Non-Lead
20150420 | 170-1 Jaca Dr | Well #1 | Non-Lead (Other) | No | No | Unknown |  | Other |  |  | well meter | Non-Lead (Other) | Unknown |  | Other |  |  | well meter | Non-Lead
20150421 | 170-2 Jaca Dr | Well #3 | Non-Lead (Other) | No | No | Unknown |  | Other |  |  | well meter | Non-Lead (Other) | Unknown |  | Other |  |  | well meter | Non-Lead
863210 | 285 Pioneer Rd | Well #2 | Non-Lead (Other) | No | No | Unknown |  | Other |  |  | well meter | Non-Lead (Other) | Unknown |  | Other |  |  | well meter | Non-Lead
89722084 | 50 US N Hwy 95 | Say When Inc | Non-Lead (Other) | No | No | Unknown | 2 | Field Investigation | Visual Inspection at Meter Pit |  |  | Non-Lead (Other) | Unknown | 2 | Field Investigation | Visual Inspection at Meter Pit |  |  | Non-Lead

## Inventory Summary
Inventory Summary
PWS Name: McDermitt Water System
PWSID: NV0000162
Enter Date Last Updated: | 2024-10-15
Purpose of this worksheet: For water systems to provide a summary of their service line inventory, including information on ownership, inventory format, and the number of service lines for each of the four required materials classifications.
Part 1. General Information
1. Is this the Initial Inventory or an Inventory Update? |  | Initial Inventory
2a. Who owns the service lines in your system? If other, please explain below. |  | Ownership is split, meaning that the system owns and portion and the customer owns a portion
2b. Is there documentation that defines service line ownership in your system, such as a local ordinance? If yes, please describe below and explain where ownership is split (e.g., property line, curb stop). |  | Yes
Splits at the meter box
3a. Describe when lead service lines were generally installed in your system.
never
3b. When were lead service lines banned in your system? Reference the state or local ordinance that banned the use of lead in your system.
unknown
4. Do you have lead goosenecks, pigtails or connectors in your system? |  | No
5. What is your overall level of confidence in the inventory (i.e., "Low", "Medium", or "High.") Please explain your rationale below.
high confidence. We excavated over 40% of the system and found no traces of lead in this system.
Part 2. Inventory Format
Describe your inventory format in the space provided below (e.g., the Detailed Inventory worksheet, custom spreadsheet, GIS map). Provide the filename and/or web address if applicable. Note that the state may require you to submit your detailed inventory of each service line in your distribution system.
detailed inventory
Part 3. Inventory Summary Table 1
If you are using the Detailed Inventory worksheet, the classifications you select in the Column "Entire Service Line Material Classification" (Column X) will be used to calculate the total number of service lines for each of the four material classifications below. Otherwise, enter the number of service lines in the aqua-colored cells. Remember this is the classification for the entire service line.
Service Line Material Classification | Definition |  | Total Number of Service Lines (REQUIRED to be reported under the LCRR)
Lead | Any portion of the service line is known to be made of lead.2 |  | 0
Galvanized Requiring Replacement (GRR) | The service line is not made of lead, but a portion is galvanized and the system is unable to demonstrate that the galvanized line was never downstream of a lead service line. |  | 0
Non-Lead | All portions of the service line are known NOT to be lead or GRR through an evidence-based record, method, or technique. |  | 105
Lead Status Unknown | The service line material is not known to be lead or GRR. For the entire service line or a portion of it (in cases of split ownership), there is not enough evidence to support material classification. |  | 0
TOTAL |  |  | 105
Notes
1 This summary table is for reporting material for the entire service line connecting the water main to the customer's plumbing. See the Classifying SLs worksheet for additional guidance on assigning a materials classification to the entire service line when ownership is split. Remember that systems must track the system-owned and customer-owned portions separately in their inventory.
2 A lead-lined galvanized service line is consistent with the definition of an LSL under the LCRR (“a portion of pipe that is made of lead, which connects the water main to the building inlet”) (40 CFR §141.2) and must therefore be classified in the inventory as an LSL. Do NOT, however, count non-lead service lines with a lead gooseneck or pigtail as lead service lines unless required by your state.

## Public Accessibility Doc.
Public Accessibility Documentation
PWS Name: McDermitt Water System
PWSID: NV0000162
Enter Date Last Updated: | 2024-10-15
Purpose of this worksheet: For systems to provide documentation to states on how they met the public accessibility requirements of the LCRR.
1. Select the location identifiers that you use for your service line inventory. Check all that apply.
Address
Street
Block
Intersection
Landmark
GPS Coordinates
Other
If "Other", please describe:
2. Does every service line have a location identifier? |  | Select "Yes" or "No"
If "No", explain. Remember that location identifiers are required for service lines that are lead and galvanized requiring replacement.
Yes
3. How are you making your inventory publicly accessible? Check all that apply. Remember that if your system serves > 50,000 people, you must provide the inventory online.
Interactive online map
Static online map
Online spreadsheet
Printed service line map
Printed tabular data
Information on water utility mailings or newsletter
Hard copy information available in water system office
Other
If "Other", please describe:

## Classification Table
System-Owned Portion | Was Material Ever Previously Lead? | Customer-Owned Portion | Entire Service Line Classification | System-Owned Portion | Was Material Ever Previously Lead? | Customer-Owned Portion | Entire Service Line Classification
Lead | Yes | Lead | Lead | Galvanized | Yes | Galvanized | Galvanized Requiring Replacement
Lead | Yes | Galvanized | Lead
Lead | Yes | Non-Lead (Other) | Lead | If #CALC error appears, check to make sure if Galvanized should instead be Galvanized Requiring Replacement or vice versa.
Lead | Yes | Non-Lead (Plastic) | Lead
Lead | Yes | Non-Lead (Copper) | Lead
Lead | Yes | Unknown | Lead
Lead | Unknown | Lead | Lead
Lead | Unknown | Galvanized | Lead
Lead | Unknown | Non-Lead (Other) | Lead
Lead | Unknown | Non-Lead (Plastic) | Lead
Lead | Unknown | Non-Lead (Copper) | Lead
Lead | Unknown | Unknown | Lead
Lead | No | Lead | Lead
Lead | No | Galvanized | Lead
Lead | No | Non-Lead (Other) | Lead
Lead | No | Non-Lead (Plastic) | Lead
Lead | No | Non-Lead (Copper) | Lead
Lead | No | Unknown | Lead
Lead |  | Lead | Lead
Lead |  | Galvanized | Lead
Lead |  | Non-Lead (Other) | Lead
Lead |  | Non-Lead (Plastic) | Lead
Lead |  | Non-Lead (Copper) | Lead
Lead |  | Unknown | Lead
Galvanized | Yes | Lead | Lead
Galvanized | Yes | Galvanized | Galvanized Requiring Replacement
Galvanized | Yes | Non-Lead (Other) | Non-Lead
Galvanized | Yes | Non-Lead (Plastic) | Non-Lead
Galvanized | Yes | Non-Lead (Copper) | Non-Lead
Galvanized | Yes | Unknown | Lead Status Unknown
Galvanized | Unknown | Lead | Lead
Galvanized | Unknown | Galvanized | Galvanized Requiring Replacement
Galvanized | Unknown | Non-Lead (Other) | Non-Lead
Galvanized | Unknown | Non-Lead (Plastic) | Non-Lead
Galvanized | Unknown | Non-Lead (Copper) | Non-Lead
Galvanized | Unknown | Unknown | Lead Status Unknown
Galvanized | No | Lead | Lead
Galvanized | No | Galvanized | Non-Lead
Galvanized | No | Non-Lead (Other) | Non-Lead
Galvanized | No | Non-Lead (Plastic) | Non-Lead
Galvanized | No | Non-Lead (Copper) | Non-Lead
Galvanized | No | Unknown | Lead Status Unknown
Galvanized |  | Lead | Lead
Galvanized |  | Galvanized | Complete Column F
Galvanized |  | Non-Lead (Other) | Non-Lead
Galvanized |  | Non-Lead (Plastic) | Non-Lead
Galvanized |  | Non-Lead (Copper) | Non-Lead
Galvanized |  | Unknown | Lead Status Unknown
Non-Lead (Other) | Yes | Lead | Lead
Non-Lead (Other) | Yes | Galvanized | Galvanized Requiring Replacement
Non-Lead (Other) | Yes | Non-Lead (Other) | Non-Lead
Non-Lead (Other) | Yes | Non-Lead (Plastic) | Non-Lead
Non-Lead (Other) | Yes | Non-Lead (Copper) | Non-Lead
Non-Lead (Other) | Yes | Unknown | Lead Status Unknown
Non-Lead (Other) | Unknown | Lead | Lead
Non-Lead (Other) | Unknown | Galvanized | Galvanized Requiring Replacement
Non-Lead (Other) | Unknown | Non-Lead (Other) | Non-Lead
Non-Lead (Other) | Unknown | Non-Lead (Plastic) | Non-Lead
Non-Lead (Other) | Unknown | Non-Lead (Copper) | Non-Lead
Non-Lead (Other) | Unknown | Unknown | Lead Status Unknown
Non-Lead (Other) | No | Lead | Lead
Non-Lead (Other) | No | Galvanized | Non-Lead
Non-Lead (Other) | No | Non-Lead (Other) | Non-Lead
Non-Lead (Other) | No | Non-Lead (Plastic) | Non-Lead
Non-Lead (Other) | No | Non-Lead (Copper) | Non-Lead
Non-Lead (Other) | No | Unknown | Lead Status Unknown
Non-Lead (Other) |  | Lead | Lead
Non-Lead (Other) |  | Galvanized | Complete Column F
Non-Lead (Other) |  | Non-Lead (Other) | Non-Lead
Non-Lead (Other) |  | Non-Lead (Plastic) | Non-Lead
Non-Lead (Other) |  | Non-Lead (Copper) | Non-Lead
Non-Lead (Other) |  | Unknown | Lead Status Unknown
Non-Lead (Plastic) | Yes | Lead | Lead
Non-Lead (Plastic) | Yes | Galvanized | Galvanized Requiring Replacement
Non-Lead (Plastic) | Yes | Non-Lead (Other) | Non-Lead
Non-Lead (Plastic) | Yes | Non-Lead (Plastic) | Non-Lead
Non-Lead (Plastic) | Yes | Non-Lead (Copper) | Non-Lead
Non-Lead (Plastic) | Yes | Unknown | Lead Status Unknown
Non-Lead (Plastic) | Unknown | Lead | Lead
Non-Lead (Plastic) | Unknown | Galvanized | Galvanized Requiring Replacement
Non-Lead (Plastic) | Unknown | Non-Lead (Other) | Non-Lead
Non-Lead (Plastic) | Unknown | Non-Lead (Plastic) | Non-Lead
Non-Lead (Plastic) | Unknown | Non-Lead (Copper) | Non-Lead
Non-Lead (Plastic) | Unknown | Unknown | Lead Status Unknown
Non-Lead (Plastic) | No | Lead | Lead
Non-Lead (Plastic) | No | Galvanized | Non-Lead
Non-Lead (Plastic) | No | Non-Lead (Other) | Non-Lead
Non-Lead (Plastic) | No | Non-Lead (Plastic) | Non-Lead
Non-Lead (Plastic) | No | Non-Lead (Copper) | Non-Lead
Non-Lead (Plastic) | No | Unknown | Lead Status Unknown
Non-Lead (Plastic) |  | Lead | Lead
Non-Lead (Plastic) |  | Galvanized | Complete Column F
Non-Lead (Plastic) |  | Non-Lead (Other) | Non-Lead
Non-Lead (Plastic) |  | Non-Lead (Plastic) | Non-Lead
Non-Lead (Plastic) |  | Non-Lead (Copper) | Non-Lead
Non-Lead (Plastic) |  | Unknown | Lead Status Unknown
Non-Lead (Copper) | Yes | Lead | Lead
Non-Lead (Copper) | Yes | Galvanized | Galvanized Requiring Replacement
Non-Lead (Copper) | Yes | Non-Lead (Other) | Non-Lead
Non-Lead (Copper) | Yes | Non-Lead (Plastic) | Non-Lead
Non-Lead (Copper) | Yes | Non-Lead (Copper) | Non-Lead
Non-Lead (Copper) | Yes | Unknown | Lead Status Unknown
Non-Lead (Copper) | Unknown | Lead | Lead
Non-Lead (Copper) | Unknown | Galvanized | Galvanized Requiring Replacement
Non-Lead (Copper) | Unknown | Non-Lead (Other) | Non-Lead
Non-Lead (Copper) | Unknown | Non-Lead (Plastic) | Non-Lead
Non-Lead (Copper) | Unknown | Non-Lead (Copper) | Non-Lead
Non-Lead (Copper) | Unknown | Unknown | Lead Status Unknown
Non-Lead (Copper) | No | Lead | Lead
Non-Lead (Copper) | No | Galvanized | Non-Lead
Non-Lead (Copper) | No | Non-Lead (Other) | Non-Lead
Non-Lead (Copper) | No | Non-Lead (Plastic) | Non-Lead
Non-Lead (Copper) | No | Non-Lead (Copper) | Non-Lead
Non-Lead (Copper) | No | Unknown | Lead Status Unknown
Non-Lead (Copper) |  | Lead | Lead
Non-Lead (Copper) |  | Galvanized | Complete Column F
Non-Lead (Copper) |  | Non-Lead (Other) | Non-Lead
Non-Lead (Copper) |  | Non-Lead (Plastic) | Non-Lead
Non-Lead (Copper) |  | Non-Lead (Copper) | Non-Lead
Non-Lead (Copper) |  | Unknown | Lead Status Unknown
Non-Lead (Asbestos) |  | Lead | Lead
Non-Lead (Asbestos) |  | Galvanized | Complete Column F
Non-Lead (Asbestos) |  | Non-Lead (Other) | Non-Lead
Non-Lead (Asbestos) |  | Non-Lead (Plastic) | Non-Lead
Non-Lead (Asbestos) |  | Non-Lead (Copper) | Non-Lead
Non-Lead (Asbestos) |  | Unknown | Lead Status Unknown
Non-Lead (Asbestos) | Unknown | Lead | Lead
Non-Lead (Asbestos) | Unknown | Galvanized | Galvanized Requiring Replacement
Non-Lead (Asbestos) | Unknown | Non-Lead (Other) | Non-Lead
Non-Lead (Asbestos) | Unknown | Non-Lead (Plastic) | Non-Lead
Non-Lead (Asbestos) | Unknown | Non-Lead (Copper) | Non-Lead
Non-Lead (Asbestos) | Unknown | Unknown | Lead Status Unknown
Non-Lead (Asbestos) | Yes | Lead | Lead
Non-Lead (Asbestos) | Yes | Galvanized | Galvanized Requiring Replacement
Non-Lead (Asbestos) | Yes | Non-Lead (Other) | Non-Lead
Non-Lead (Asbestos) | Yes | Non-Lead (Plastic) | Non-Lead
Non-Lead (Asbestos) | Yes | Non-Lead (Copper) | Non-Lead
Non-Lead (Asbestos) | Yes | Unknown | Lead Status Unknown
Non-Lead (Asbestos) | No | Lead | Lead
Non-Lead (Asbestos) | No | Galvanized | Non-Lead
Non-Lead (Asbestos) | No | Non-Lead (Other) | Non-Lead
Non-Lead (Asbestos) | No | Non-Lead (Plastic) | Non-Lead
Non-Lead (Asbestos) | No | Non-Lead (Copper) | Non-Lead
Non-Lead (Asbestos) | No | Unknown | Lead Status Unknown
Unknown |  | Lead | Lead
Unknown |  | Galvanized | Lead Status Unknown
Unknown |  | Non-Lead (Other) | Lead Status Unknown
Unknown |  | Non-Lead (Plastic) | Lead Status Unknown
Unknown |  | Non-Lead (Copper) | Lead Status Unknown
Unknown |  | Unknown | Lead Status Unknown
Unknown | Unknown | Lead | Lead
Unknown | Unknown | Galvanized | Lead Status Unknown
Unknown | Unknown | Non-Lead (Other) | Lead Status Unknown
Unknown | Unknown | Non-Lead (Plastic) | Lead Status Unknown
Unknown | Unknown | Non-Lead (Copper) | Lead Status Unknown
Unknown | Unknown | Unknown | Lead Status Unknown
Unknown | Yes | Lead | Lead
Unknown | Yes | Galvanized | Galvanized Requiring Replacement
Unknown | Yes | Non-Lead (Other) | Lead Status Unknown
Unknown | Yes | Non-Lead (Plastic) | Lead Status Unknown
Unknown | Yes | Non-Lead (Copper) | Lead Status Unknown
Unknown | Yes | Unknown | Lead Status Unknown
Unknown | No | Lead | Lead
Unknown | No | Galvanized | Lead Status Unknown
Unknown | No | Non-Lead (Other) | Lead Status Unknown
Unknown | No | Non-Lead (Plastic) | Lead Status Unknown
Unknown | No | Non-Lead (Copper) | Lead Status Unknown
Unknown | No | Unknown | Lead Status Unknown

## Building Conditionals (hidden)
DRAFT | [8 empty] | Form Option For Customer Side | Classification | System-Owned Portion | Was Previously Lead? | Customer-Owned Portion | Classification for Entire Service Line | Single-Owned Portion | Classification for Entire Service Line
| Note to EPA: This is a background sheet to be hidden or deleted | [7 empty] | Lead | Lead | Lead |  | Lead | Lead | Lead | Lead
[9 empty] | Lead-lined galvanized | Lead | Lead |  | Galvanized | Lead | Galvanized | Non-Lead
[9 empty] | Galvanized | Galvanized | Lead |  | Non-Lead | Lead | Non-Lead | Non-Lead
[9 empty] | Non-Lead - Copper | Non-Lead | Lead |  | Material Unknown | Lead | Material Unknown | Lead Status Unknown
[9 empty] | Non-Lead - Plastic | Non-Lead | Galvanized |  | Lead | Lead
[9 empty] | Non-Lead - Other | Non-Lead | Galvanized |  | Galvanized | Non-Lead
[9 empty] | Unknown - Likely Lead | Material Unknown | Galvanized |  | Non-Lead | Non-Lead
[9 empty] | Unknown - Unlikely Lead | Material Unknown | Galvanized |  | Material Unknown | Lead Status Unknown
[9 empty] | Unknown - Material Unknown | Material Unknown | Non-Lead |  | Lead | Lead
[11 empty] | Non-Lead | Y | Galvanized | Galvanized Requiring Replacement
[9 empty] | Form Option For System Side | Classification | Non-Lead | N | Galvanized | Non-Lead
[9 empty] | Lead | Lead | Non-Lead | DN | Galvanized | Galvanized Requiring Replacement
[9 empty] | Lead-lined galvanized | Lead | Non-Lead |  | Non-Lead | Non-Lead
[9 empty] | Galvanized | Galvanized | Non-Lead |  | Material Unknown | Lead Status Unknown
[9 empty] | Non-Lead - Copper | Non-Lead | Material Unknown |  | Lead | Lead
[9 empty] | Non-Lead - Plastic | Non-Lead | Material Unknown |  | Galvanized | Galvanized Requiring Replacement
[9 empty] | Non-Lead - Other | Non-Lead | Material Unknown |  | Non-Lead | Lead Status Unknown
[9 empty] | Unknown - Likely Lead | Material Unknown | Material Unknown |  | Material Unknown | Lead Status Unknown
[9 empty] | Unknown - Unlikely Lead | Material Unknown
| system_owned_portion |  | customer_owned_portion | service_line_classification |  |  |  |  | Unknown - Material Unknown | Material Unknown
| System-Owned Portion | Was Previously Lead? | Customer-Owned Portion | Classification for Entire Service Line |  | IF( | ) AND ( | THEN
| Lead |  | Lead | Lead |  | IF(system_owned_portion=Lead) AND (customer_owned_portion=Lead THEN service_line_classification=Lead | IF(system_owned_portion=Lead) AND (customer_owned_portion=Lead THEN service_line_classification=Lead | IF(system_owned_portion="Lead") AND (customer_owned_portion="Lead" THEN service_line_classification="Lead"
| Lead |  | Galvanized | Lead | ELSE | IF(system_owned_portion=Lead) AND (customer_owned_portion=Galvanized THEN service_line_classification=Lead | ELSEIF(system_owned_portion=Lead) AND (customer_owned_portion=Galvanized THEN service_line_classification=Lead | ELSEIF(system_owned_portion="Lead") AND (customer_owned_portion="Galvanized Requiring Replacement" THEN service_line_classification="Lead"
| Lead |  | Non-Lead | Lead | ELSE | IF(system_owned_portion=Lead) AND (customer_owned_portion=Non-Lead THEN service_line_classification=Lead | ELSEIF(system_owned_portion=Lead) AND (customer_owned_portion=Non-Lead THEN service_line_classification=Lead | ELSEIF(system_owned_portion="Lead") AND (customer_owned_portion="Non-Lead" THEN service_line_classification="Lead"
| Lead |  | Material Unknown | Lead | ELSE | IF(system_owned_portion=Lead) AND (customer_owned_portion=Material Unknown THEN service_line_classification=Lead | ELSEIF(system_owned_portion=Lead) AND (customer_owned_portion=Material Unknown THEN service_line_classification=Lead | ELSEIF(system_owned_portion="Lead") AND (customer_owned_portion=Lead Status Unknown THEN service_line_classification="Lead"
| Galvanized |  | Lead | Lead | ELSE | IF(system_owned_portion=Galvanized) AND (customer_owned_portion=Lead THEN service_line_classification=Lead | ELSEIF(system_owned_portion=Galvanized) AND (customer_owned_portion=Lead THEN service_line_classification=Lead | ELSEIF(system_owned_portion="Galvanized1") AND (customer_owned_portion=Lead THEN service_line_classification="Lead"
| Galvanized |  | Galvanized | Non-Lead | ELSE | IF(system_owned_portion=Galvanized) AND (customer_owned_portion=Galvanized THEN service_line_classification=Non-Lead | ELSEIF(system_owned_portion=Galvanized) AND (customer_owned_portion=Galvanized THEN service_line_classification=Non-Lead | ELSEIF(system_owned_portion="Galvanized1") AND (customer_owned_portion="Galvanized2" THEN service_line_classification="Non-Lead"
| Galvanized |  | Non-Lead | Non-Lead | ELSE | IF(system_owned_portion=Galvanized) AND (customer_owned_portion=Non-Lead THEN service_line_classification=Non-Lead | ELSEIF(system_owned_portion=Galvanized) AND (customer_owned_portion=Non-Lead THEN service_line_classification=Non-Lead | ELSEIF(system_owned_portion="Galvanized1") AND (customer_owned_portion="Non-Lead" THEN service_line_classification="Non-Lead"
| Galvanized |  | Material Unknown | Lead Status Unknown | ELSE | IF(system_owned_portion=Galvanized) AND (customer_owned_portion=Material Unknown THEN service_line_classification=Lead Status Unknown | ELSEIF(system_owned_portion=Galvanized) AND (customer_owned_portion=Material Unknown THEN service_line_classification=Lead Status Unknown | ELSEIF(system_owned_portion="Galvanized1") AND (customer_owned_portion="Lead Status Unknown" THEN service_line_classification="Lead Status Unknown"
| Non-Lead |  | Lead | Lead | ELSE | IF(system_owned_portion=Non-Lead) AND (customer_owned_portion=Lead THEN service_line_classification=Lead | ELSEIF(system_owned_portion=Non-Lead) AND (customer_owned_portion=Lead THEN service_line_classification=Lead | ELSEIF(system_owned_portion="Non-Lead") AND (customer_owned_portion="Lead" THEN service_line_classification="Lead"
| Non-Lead |  | Galvanized | Galvanized Requiring Replacement | ELSE | IF(system_owned_portion=Non-Lead) AND (customer_owned_portion=Galvanized THEN service_line_classification=Galvanized Requiring Replacement | ELSEIF(system_owned_portion=Non-Lead) AND (customer_owned_portion=Galvanized THEN service_line_classification=Galvanized Requiring Replacement | ELSEIF(system_owned_portion="Non-Lead") AND (customer_owned_portion="Galvanized2" THEN service_line_classification="Non-Lead"
| Non-Lead |  | Galvanized | Non-Lead | ELSE | IF(system_owned_portion=Non-Lead) AND (customer_owned_portion=Galvanized THEN service_line_classification=Non-Lead | ELSEIF(system_owned_portion=Non-Lead) AND (customer_owned_portion=Galvanized THEN service_line_classification=Non-Lead | ELSEIF(system_owned_portion="Non-Lead") AND (customer_owned_portion="Non-Lead" THEN service_line_classification="Non-Lead"
| Non-Lead |  | Galvanized | Galvanized Requiring Replacement | ELSE | IF(system_owned_portion=Non-Lead) AND (customer_owned_portion=Galvanized THEN service_line_classification=Galvanized Requiring Replacement | ELSEIF(system_owned_portion=Non-Lead) AND (customer_owned_portion=Galvanized THEN service_line_classification=Galvanized Requiring Replacement | ELSEIF(system_owned_portion="Non-Lead") AND (customer_owned_portion="Lead Status Unknown" THEN service_line_classification="Lead Status Unknown"
| Non-Lead |  | Non-Lead | Non-Lead | ELSE | IF(system_owned_portion=Non-Lead) AND (customer_owned_portion=Non-Lead THEN service_line_classification=Non-Lead | ELSEIF(system_owned_portion=Non-Lead) AND (customer_owned_portion=Non-Lead THEN service_line_classification=Non-Lead | ELSEIF(system_owned_portion="Non-Lead, but system is unable to demonstrate it was not previously Lead") AND (customer_owned_portion="Galvanized Requiring Replacement" THEN service_line_classification="Galvanized Requiring Replacement"
| Non-Lead |  | Material Unknown | Lead Status Unknown | ELSE | IF(system_owned_portion=Non-Lead) AND (customer_owned_portion=Material Unknown THEN service_line_classification=Lead Status Unknown | ELSEIF(system_owned_portion=Non-Lead) AND (customer_owned_portion=Material Unknown THEN service_line_classification=Lead Status Unknown | ELSEIF(system_owned_portion="Lead Status Unknown") AND (customer_owned_portion="Lead" THEN service_line_classification="Lead"
| Material Unknown |  | Lead | Lead | ELSE | IF(system_owned_portion=Material Unknown) AND (customer_owned_portion=Lead THEN service_line_classification=Lead | ELSEIF(system_owned_portion=Material Unknown) AND (customer_owned_portion=Lead THEN service_line_classification=Lead | ELSEIF(system_owned_portion="Lead Status Unknown") AND (customer_owned_portion="Galvanized Requiring Replacement" THEN service_line_classification="Galvanized Requiring Replacement"
| Material Unknown |  | Galvanized | Galvanized Requiring Replacement | ELSE | IF(system_owned_portion=Material Unknown) AND (customer_owned_portion=Galvanized THEN service_line_classification=Galvanized Requiring Replacement | ELSEIF(system_owned_portion=Material Unknown) AND (customer_owned_portion=Galvanized THEN service_line_classification=Galvanized Requiring Replacement | ELSEIF(system_owned_portion="Lead Status Unknown") AND (customer_owned_portion="Non-Lead" THEN service_line_classification="Lead Status Unknown"
| Material Unknown |  | Non-Lead | Lead Status Unknown | ELSE | IF(system_owned_portion=Material Unknown) AND (customer_owned_portion=Non-Lead THEN service_line_classification=Lead Status Unknown | ELSEIF(system_owned_portion=Material Unknown) AND (customer_owned_portion=Non-Lead THEN service_line_classification=Lead Status Unknown | ELSEIF(system_owned_portion="Lead Status Unknown") AND (customer_owned_portion="Lead Status Unknown" THEN service_line_classification="Lead Status Unknown"
| Material Unknown |  | Material Unknown | Lead Status Unknown |  |  | ELSE service_line_classification = "CLASSIFICATION ERROR" | ELSE "CLASSIFICATION ERROR"

## Form Lists (hidden)
Tab | Form Control Lists
Detailed Inventory | Sensitive Population? (Y/N) | Service Line Material Classification* | If Non-Lead, Was Material Ever Previously Lead? | Basis of Material Classification | Was the Service Line Material Field Verified? | Select the Field Verification Method | Building Type Connected to Service Line | For CWSs, do Multi-family Residences (MFRs) Comprise at Least 20% of the Structures You Serve? | Is there a Lead Connector Present? | Point-of-Entry or Point-of-Use Treatment Present? | Does the Interior Building Plumbing Contain Copper Pipes with Lead Solder Installed before your State's Lead Ban (Generally 1986 - 1988) | Current LCR Sampling Site? | Building Type Connected to Service Line | For CWSs, do Multi-family Residences (MFRs) Comprise at Least 20% of the Structures You Serve? | Is there a Lead Connector Present? | Point-of-Entry or Point-of-Use Treatment Present? | Does the Interior Building Plumbing Contain Copper Pipes with Lead Solder Installed before your State's Lead Ban (Generally 1986 - 1988) | Current LCR Sampling Site?
| No | Lead | Yes | Previous materials evaluation | Yes | Visual inspection at meter pit | Single Family Residence | Yes | Yes | Yes | Yes | Yes | Single Family Residence | Yes | Yes | Yes | Yes | Yes
| Yes - School | Lead-lined galvanized | No | Installation record (e.g., tap card) | No | Customer self-identification | Multiple Family Residence | No | Known | No | No | No | Multiple Family Residence | No | Known | No | No | No
| Yes - Day Care | Galvanized | Don't know | Installation date is after the lead ban |  | CCTV Inspection at Curb Box - Internal | Building | N/A | Unknown | Unknown | Unknown |  | Building | N/A | Unknown | Unknown | Unknown
| Yes - Other | Non-Lead - Copper |  | Service line diameter is greater than 2 inches |  | CCTV inspection at Curb Box - External | Other | [5 empty] | Other
|  | Non-Lead - Plastic |  | Service line repair or replacement record |  | Water Quality Sampling - Targeted
|  | Non-Lead - Other |  | Statistical analysis |  | Water Quality Sampling - Flushed
|  | Unknown - Likely Lead |  | Field inspection only with no records |  | Water Quality Sampling - Sequential
|  | Unknown - Unlikely Lead |  | Water sampling only with no records |  | Water Quality Sampling - Other
|  | Unknown - Material Unknown |  | Other |  | Mechanical Excavation at 1 location
Mechanical Excavation at multiple locations
| Note to EPA: this is a background sheet to be hidden or deleted |  |  |  | Other